

 Parametri

|  |  |
| --- | --- |
| Description | EM122, 8DO×DC 24V |
| Physical Features |
| Dimensions(W×H×D) | 46×80×62mm |
| Power loss(dissipation) | 2W |
| From +5V (from I/O bus) | 50 mA |
| Output Features |
| Number of integrated outputs | 8 outputs |
| Output type | Solid State-MOSFET |
| Output voltage　 |
| Rated ValuePermissible RangeLogic 1 signal at maximum currentLogic 0 signal with 10 kohm load | 24V DC20.4~28.8V DC20V DC, minimum0.1VDC, maximum |
| Output Current |
| Logic 1 signalNumber of output groupsPer group mounting (maximum)Number of output ON (maximum)Maximum current per groupLamp loadContact resistanceLeakage current per pointSurge current | 0.5A2482A5W0.3 ohm10μA, maximum8A，100ms |
| Isolation | 500V AC for 1 minute |
| In group of | 4 points |
| Output Delay |
| Off to On                              On to Off | 50 μs, maximum200 μs, maximum |
| Cable Length |
| Unshielded | 150 m |
| Shielded | 500 m                         |

Dimenzije



Šema povezivanja

